## Sheet1
Actions | Parameters
Step | 1
Action | Manual Step
message | Check that DLS is on, plate is sealed, and that the arm can access all positions
Step | 2
Action | Pickup
Location | Plate5
Step | 3
Action | Open DLS
Step | 4
Action | Dropoff
Location | DLS
Step | 5
Action | Close DLS
Step | 6
Action | Run DLS
script folder | C:\Users\GormleyLab232\Desktop\xArm backup
data folder | C:\Users\GormleyLab232\Desktop\xArm backup\Suponya's Self Driving Lab
experiment name | 0830_as_2
dls wells | A1,A2,B1,B2,C1,C2,D1,D2,E1,E2,F1,F2,G1,G2,H1,H2,I1,I2,J1,J2,K1,K2,L1,L2,M1,M2,N1,N2,O1,O2,P1,P2
plate type | 384
acquisition time | 5
number acquisitions | 8
starting temperature | 25
laser power | 20
attenuation | TRUE
ACF (D /+ R /+ C) | D
distType (I / M / N) | M
regXVal (C / D / R / T) | R
capture well images | FALSE
save data per acquisition | FALSE
Step | 7
Action | Manual Step
message | Ready to pick up plate using Xarm
Step | 8
Action | Open DLS
Step | 9
Action | Pickup
Location | DLS
Step | 10
Action | Close DLS
Step | 11
Action | Dropoff
Location | Plate5